## IMPORTANT Instructions
Part 4 Statement of Requirements - Instructions
HPVITS2024-042.001 Pathology Consumables Supplementary
IMPORTANT - Do not insert new rows or columns in between the worksheets. - Do not alter formatting and structure of this xls file. - Incomplete data will result in non-award of the tendered item.
Instructions
· Respondents are to review each worksheet and provide a response where required.
· For cells requesting "--Select--" - Respondents must respond by selecting Fully Comply, Partially Comply, Does Not Comply, or Not Applicable, in order for Respondents to confirm product compliance to the updated specification for Evaluation. For a response:
· "Fully Comply" - it is optional for Respondents to add further information in the 'Please Specify' column
· "Partially Comply" - Respondents must provide further information in the 'Please Specify' column
· "Does Not Comply" - no response is required in 'Please Specify' column, however if Respondents offers a valid alternative then provide this information in the 'Please Specify' column for consideration in the Evaluation
· "Not Applicable" - no response is required in 'Please Specify' column, however further information provided by Respondent in the 'Please Specify' column will assist the Evaluation
· For the purpose of this Invitation to Supply (ITS):
· "Must" indicates mandatory criteria
· "Should" indicates desirable criteria
Part A: Introduction
· In addition to responding to the HSV Procurement Portal questions and Tender Response Worksheet (TRW) this xls file outlines the scope of this Invitation to Supply (ITS) submission.
Part B: Service, Delivery & Support/ Part C: General Requirements /Category Tabs (Cat 1 - 13)
· Responses are limited to Fully comply, Partially comply, Does not comply, Not Applicable
· Please provide any further information in the 'Please Specify’ column.

## Definitions
Definitions
Term | Definition
Agreement | A contract entered into by HSV and a Respondent for the provision of Pathology Consumables. Comprises the General Conditions, and all Schedules, Annexures of any kind and any attachments.
ARTG | Australian Register of Therapeutic Goods under the control of TGA
Australasia | Both Australia and New Zealand
authorised user | Any person that is authorised by a Participating Health Service to perform certain functions (e.g. settings and software configuration) on Ventilator systems (e.g. Biomedical Engineers).
Business day | Any weekday not gazetted as a public holiday in Melbourne, Victoria.
Business hours | From 8am to 6pm during Business days
consumable | A part that is used once or only on one patient, such as Defibrillator Pads, disposable NIBP cuffs etc.
proprietary consumable | A product that is only available from one supplier and only functions with one brand of device
associated consumable | A product that is available from multiple suppliers and only functions with one brand of device
generic consumable | A product that is available from multiple suppliers and operates on multiple brand of devices
effective life | The minimum lifespan of a piece of equipment it remains in use
FIS | Free into Store
FOC | Free of Charge
GS1 | Global Standards One
HIS | Hospital Information Systems
HSV | HealthShare Victoria
LIS | Laboratory Information Systems
may | Indicates an optional element; it is at the Respondent’s discretion to either meet or not meet this element, and failure to meet this element will not have an impact during evaluation.
must | Indicates a mandatory requirement; failure to meet this requirement will result in the submission being eliminated from further consideration.
NEHTA | National E-Health Transition Authority
NPC | National Product Catalogue
OEM | Original Equipment Manufacturer
Participating Health Services | Public Hospitals and other Health or Related Services, as those terms are defined in Section 3 of the Health Services Act 1988 (Vic), that are described in Appendix 4 of Part 8.
reusable | A device designed or intended by the manufacturer as suitable for reprocessing and reuse.
should | Indicates a highly desirable element; unless justifiable reason exists, not meeting this element may impact evaluation.
single use | A device that is intended to be used on an individual patient, during a single procedure, and then discarded.
single-patient use | A device that can potentially undergo more than one episode of use on one patient only. The device may undergo some form of reprocessing between each use (in accordance with manufacturers’ instructions).
TGA | Therapeutic Goods Administration
UOM | Unit of Measure; minimum quantity of items that are able to be ordered (i.e., shipped in a box)
upgrade | in replacing the faulty component (that's no longer available hence design change), additional component/s also require replacing per design change
Urgent Delivery | needs to be shipped right away and delivered as fast as possible; excludes backorder items.
will | Indicates an anticipated future condition or requirement to be met.

## A - Introduction
Part A: Introduction
Clause Identifiers |  |  |  | Text
Part A
| 1.0 |  |  | Purpose
|  | a |  | The purpose of this Part 4 – Statement of Requirements, is to:
|  |  | (i) | Detail the scope and range of products sought under this Invitation to Supply (ITS)
|  |  | (ii) | Specify the requirements that Respondents and/or their offered products must meet. These requirements also form part of any resulting Agreement between HSV and any successful Respondent(s).
| 1.1 |  |  | Participating Health Services
|  | a |  | The Participating Health Services for this ITS are:
|  |  | i | All ‘Public Health Services’ (as legislatively defined) referred to in Schedule 1 and Schedule 5 of the Health Services Act 1988; and any other 'health or related services' as described under the Act.
| 2.0 |  |  | Scope
|  | a |  | HSV is seeking responses for Pathology Consumables for use in Participating Health Services. The envisaged Term of the Agreement is four (4) years plus one (1) optional two year extension period (4+2)
|  | b |  | The scope of this ITS includes the supply of generic pathology consumables listed in Appendix 1 - Product List
|  | c |  | HSV is only seeking responses for the outright purchase of tendered product.
|  | d |  | The scope of this ITS does not include:
|  |  | (i) | Consumables and reagents that are proprietary to pathology analysers and equipment, unless otherwise stated
|  |  | (ii) | Winged intravenous devices that are currently included on HPVC2019-079 Intravenous Access Devices and Administration Consumables Agreement
|  |  | (iii) | Hypodermic syringes and needles currently included on HPVC2022-005 Hypodermic Needles and Syringes
|  |  | (iv) | Core biopsy needles and access needles included in on HPVC2022-061 Interventional Radiology
|  | e |  | Indicative volumes are listed in the HSV Procurement Portal
|  | f |  | Participating Health Services will preference Respondents offering both the best value for money and the best fit for purpose.
| 3..0 |  |  | Product Categories
A complete range of Pathology Consumables is required for treatment of patients across Victorian Public Health Services
|  | a |  | The categories called for under this Invitation to Supply (ITS) include:
|  |  | (i) | Category 1 - Blood Collection Devices
|  |  | (ii) | Category 2 - Blood Collection Equipment
|  |  | (iii) | Category 3 - Specimen Containers
|  |  | (iv) | Category 4 - Point of Care Testing Consumables
|  |  | (v) | Category 5 - Laboratory Chemicals
|  |  | (vi) | Category 6 - Anatomical Pathology Consumables
|  |  | (vii) | Category 7 - Tubes for Internal Laboratory Use
|  |  | (viii) | Category 8 - Microbiology Consumables
|  |  | (ix) | Category 9 - Pipettes and Tips
|  |  | (x) | Category 10 - Microscope Slides and Accessories
|  |  | (xi) | Category 11 - Pathology Labels
|  |  | (xii) | Category 12 - Pathology Sample Packaging
|  |  | (xiii) | Category 13 - QC Material
|  | b |  | The Respondent may offer products in one, some or all categories.
|  | c |  | HSV reserves the right not to consider any additional products offered.
|  | d |  | For a full list of product categories and subcategories, see Appendix 1 – Product List.
| 4.0 |  |  | Product Conditions
| 4.1 |  |  | Clinical Trials
|  | a |  | Participating Health Services may, at their discretion, research or trial new technology or use non-contracted products to perform clinical trials at any time during the Term of any resulting Agreement.
|  | b |  | Participating Health Services may request trials before creating a Statement of Demand which may also provide successful Respondents time to do a site inspection/offering.
| 4.2 |  |  | Product Offering
|  | a |  | Respondents are to list a direct match to the part and part number listed on the Response Worksheet.
|  | b |  | If a direct match is not possible, list alternative or best match with the alternate part number.
|  | c |  | HSV may not consider any product that is subject to a current HSV Agreement, other than the current Agreement for Pathology Consumables (HPVC2017-042).
|  | d |  | The Respondent will ensure that each product is offered in only one subcategory. It is at the Respondent’s discretion to ensure that each product is submitted in the most appropriate subcategory.
| 4.3 |  |  | Product Information
|  | a |  | The Respondent will submit a copy of relevant product diagrams, specifications or brochures to assist in accurately identifying products offered.
|  | b |  | Where research papers or relevant scientific information is available, this must be submitted to participating health services upon their request and free of charge.
|  | c |  | All product information submitted must:
|  |  | (i) | Be in electronic format
|  |  | (ii) | Be in English
|  |  | (iii) | Be specific to the product offered
|  |  | (iv) | Contain the Respondent’s company name
|  |  | (v) | Include the product code
|  |  | (vi) | Include a detailed specification of the product
|  |  | (vii) | Include clear diagrams/pictures of the product.
|  | d |  | To assist in managing this material, all product information submitted must be labelled with the relevant HSV category and subcategory number.
|  |  | i | Electronic copies must include the HSV Category and subcategory numbers in the filename or identifying metadata. HSV reserves the right to not consider any unlabelled submissions.
|  | e |  | Product information will not be evaluated, but is necessary to assist in accurately identifying products offered.
|  | f |  | HSV reserves the right to exclude products from evaluation when the product is unidentifiable and provided information is:
|  |  | (i) | Not labelled as per Part 5 A 4.3 d above; or
|  |  | (ii) | Is incomplete as to Part 5 A 4.3 c.
|  | g |  | The Respondent should not submit information relating to products that are not called for in this ITS.
|  | h |  | Respondents are to provide for evaluation purposes samples of submitted products and accessories as follows:
|  |  | (i) | Only samples for products not on the current contract HPVC2017-042
|  |  | (ii) | Has had nil sales within Victorian Public Health Services
|  |  | (iii) | Within the following Categories:
Category 1 - Blood Collection Devices
Category 3 - Specimen Containers
Category 4 - Point of Care Testing Consumables
Category 6 - Anatomical Pathology Consumables
Category 12 - Pathology Sample Packaging (Biohazard Specimen Bags Only)
Any other product which HSV reasonably requests.
|  |  | (iv) | Category 2 - Blood Collection Equipment (tourniquets only), Respondents are to provide samples for all tendered products
|  |  | (v) | No other samples are to be submitted.
|  | i |  | Respondents are not to provide samples of hazardous and/or refrigerated materials. Rather than providing samples of these products, Respondents are to provide photographs of the packaging.
|  | j |  | For each sample:
|  |  | (i) | One (1) sample of one (1) size for each product type of each range or sub-category;
|  |  | (ii) | Single use or re-usable;
|  |  | (iii) | Sterile or non-sterile;
|  |  | (iv) | A list of all samples provided; and
|  |  | (v) | Instructions for use, where applicable.
|  | k |  | All samples provided should be:
|  |  | (i) | New and unopened;
|  |  | (ii) | Packed, sealed and labelled;
|  |  | (iii) | Packed in boxes with products of the same category; and
|  |  | (iv) | Include supporting specifications and relevant data.
|  | l |  | Each sample submitted should be clearly labelled with the following information:
|  |  | (i) | Name of the Respondent;
|  |  | (ii) | ITS name and number;
|  |  | (iii) | Name and number of the sub-category that the product has been tendered into; and
|  |  | (iv) | Respondent’s product code and description.
|  | m |  | All samples submitted will be disposed of upon completion of the evaluation process unless collection or return instructions are supplied with each sample. Samples to be returned will be at Respondent’s cost.
|  | n |  | For samples to be returned, Respondents are to include instructions with the samples with the following:
|  |  | (i) | Clear instructions to indicate if the samples are to be collected from HSV or are to be sent back at the Respondent’s cost. For samples that are to be sent back, instructions are to include the freight account or ‘con note’, an address print out and any necessary paperwork that is to be used by HSV to enable the return to occur.
|  | o |  | Samples are to be sent to the following address: Attention to: TBA
|  | p |  | All samples are to arrive at the specified address and time as provided by HSV.
| 5.0 |  |  | Restricted and extended basket of goods
|  | a |  | In the Response Worksheet Respondents may offer pricing options for both an extended basket of goods and a restricted basket of goods for each line item.
|  | b |  | A restricted basket of goods would be a reduced variance of items offered in each subcategory.
|  | c |  | An extended basket of goods would consist of all items listed in each subcategory listed in the Response Worksheet.

## B - Service, Delivery & Support
Part B: Service, Delivery and Support
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | Comments
Part B |  |  |  | Statement of Work | Fully comply Partially comply Does not comply Not Applicable | Please specify
1.0 |  |  |  | Electronic Data Interchange |  |  |  | --Select--
|  | a |  | The Participating Health Services prefer to exchange orders, payments, acknowledgements, invoices, remittance notices and other records (Data) electronically, in place of tangible documents. Successful Respondents are required to work with the Participating Health Services to achieve this outcome. | --Select-- |  |  | Fully comply
2.0 |  |  |  | Delivery |  |  |  | Partially comply
|  | a |  | Successful Respondent must process and despatch all orders within 1 Business Day of the Participating Health Service having issued. | --Select-- |  |  | Does not comply
|  | b |  | Pathology Consumables must be delivered to the location(s) specified by Participating Health Services within the shortest possible timeframe, and must not exceed: | --Select-- |  |  | Not Applicable
|  |  | i | Two (2) Business Days for metropolitan health services from receipt of order unless otherwise agreed with the Participating Health Service | --Select--
|  |  | ii | Three (3) Business Days for regional and rural health services from receipt of order unless otherwise agreed with the Participating Health Service | --Select--
|  | c |  | Successful Respondent's delivery personnel (including all the Successful Respondent's sub-contractors) must adhere to Facility Based Service's PPE requirements, if applicable. | --Select--
|  | d |  | All faulty products or damaged stock during delivery must be replaced free of charge. | --Select--
3.0 |  |  |  | Urgent Deliveries
|  | a |  | For the purposes of this section, urgent deliveries refers to urgent requests placed by an individual Participating Health Service, and does not include state-wide emergency situations. | --Select--
|  | b |  | The Respondent must be able to receive and action urgent delivery requests during normal business hours. | --Select--
|  | c |  | Urgent deliveries must be received by Participating Health Services within one (1) business day from receipt of order. | --Select--
|  | d |  | Any additional costs associated with Urgent Deliveries shall be clearly outlined in the User Guide tab of the Tender Response Worksheet and shall be discussed and agreed with the ordering health service prior to acceptance of any urgent order. | --Select--
4.0 |  |  |  | Training
|  | a |  | Upon request by a Participating Health Service, successful Respondents will deliver a training package and/or training materials to facilitate the introduction of their ITS to end users in their operating environment. | --Select--
|  | b |  | Training requirements may include (but are not limited to):
|  |  | i | Face-to-face training at Participating Health Service sites (i.e. in-service training) | --Select--
|  |  | ii | Off-site study days for end users | --Select--
|  |  | iii | Updates and refresher training on new products and/or techniques | --Select--
|  |  | iv | Training on cleaning and sterilisation to nominated personnel and the Participating Health Services’ CSSD and SSU (for reusable instruments) | --Select--
|  |  | v | Training materials. | --Select--
5.0 |  |  |  | Customer Service and Support
|  | a |  | The successful Respondent must be able to provide customer service and support to Participating Health Services, either directly or via a third party, during business hours. | --Select--
|  | b |  | The successful Respondent will provide Participating Health Services with representatives that are:
|  |  | i | Inherently familiar with the contracted products | --Select--
|  |  | ii | Appropriately qualified | --Select--
|  |  | iii | Technically/clinically knowledgeable about the contracted products | --Select--
|  |  | iv | Available to respond to Participating Health Services’ queries during business hours. | --Select--
|  | c |  | It is desirable that nominated Representatives have a clinical background or experience. | --Select--
|  | d |  | The level of customer service and support required of Representatives is expected to include (but is not limited to):
|  |  | i | Liaising with clinicians/healthcare worker to recommend products and solutions | --Select--
|  |  | ii | Promptly answering clinicians’ queries (including after hours) | --Select--
|  |  | iii | Liaising with various hospital departments (for example: operating theatre, Nurse Unit Managers) | --Select--
|  |  | iv | Providing on-site clinical support during cases (if requested) | --Select--
|  |  | v | Providing informational/clinical/technical materials within 2 business days | --Select--
|  |  | vi | Providing education and in-service training upon request. | --Select--
|  | e |  | Representatives must comply with Participating Health Services’ local policies regarding engagement with Participating Health Service staff. | --Select--
6.0 |  |  |  | Consignment Stock
|  | a |  | Respondents should indicate whether it is providing any of the Deliverables on a consignment basis. | --Select--
|  | b |  | Respondents should nominate a Representative to undertake consignment duties. | --Select--
|  | c |  | Terms relating to Consignment Stock are set out under Part 5 Module clause 7.12 Consignment Stock and/or under any relevant Service Level Agreement. | --Select--
7.0 |  |  |  | Warranty
|  | a |  | All products covered in this ITS (including relevant instrument sets and loan kits) are to be issued a warranty until the expiry date of the product | --Select--
|  | b |  | Upon request, the successful Respondent will provide information (printed or electronic) explaining product warranty. | --Select--
| 7.1 |  |  | Repairs and Replacements under Warranty
|  | a |  | The cost of any pickup or delivery associated with a repair or replacement under warranty will be borne by the successful Respondent. | --Select--
8.0 |  |  |  | Trial and Evaluation
|  | a |  | Where product requires, Respondents may be required to arrange a site visit during the evaluation stage to assist with introducing trial. | --Select--
|  | b |  | Participating Health Services reserve the right to trial successful Respondents’ products on-site for reference prior to purchase. To limit the costs of any such trial, full integration to hospital systems is preferred but not required. Clinical trials will be minimum up to four (4) weeks or as mutually agreed between the successful Respondent and the Participating Health Service site. | --Select--
|  | c |  | Suppliers must be capable of demonstrating their products within four (4) weeks of request. | --Select--
|  | d |  | As part of the trial and evaluation, the Respondent must supply up to 4 weeks’ worth of product FOC, or a volume that is mutually agreeable with the Participating Health Service. | --Select--

## C - General Requirements
Part C: General Requirements
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | Comments
Part C |  |  |  | General Requirements | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Standards and Compliance
|  | a |  | All items offered must comply with relevant Australian Standards, Orders, Legislation and Regulations (collectively ‘Compliance Requirements’), or their equivalent International Compliance Requirements. Refer to Appendix 2 – Compliance Requirements for a list of the minimum Compliance Requirements. | --Select--
|  | b |  | Respondents must provide the ARTG number for each medical device offered in the Product Description of the Tender Response Worksheet, and | --Select-- |  |  | --Select--
|  |  | i | The successful Respondent must provide evidence of ARTG certification, upon request to the Participating Health Service. | --Select-- |  |  | Fully comply
|  | c |  | Successful Respondents must ensure the ongoing inclusion of all tendered medical products in the ARTG, for the period of this agreement by meeting the associated ongoing annual TGA charges. | --Select-- |  |  | Partially comply
|  |  | i | Failure by Respondent to maintain the tendered medical product on the ARTG will result in product suspension from HSV Catalogue. | --Select-- |  |  | Does not comply
|  | d |  | The Manufacturer must have a risk management framework in place, for identifying hazards associated with tendered medical device, to estimate and evaluate the associated risks, to control these risks, and to monitor the effectiveness of the controls, or | --Select-- |  |  | Not Applicable
|  |  | i | conform with ISO 14971 requirements.
|  | e |  | All sterile consumables must have CE / ISO Standard sterilisation certificates. | --Select--
|  | f |  | Respondents that tender a medical device must have a QMS. | --Select--
|  | g |  | Medium to large sized enterprises must have a certified QMS.
|  |  | i | Preference is for AS ISO 13485 certification, otherwise | --Select--
|  |  | ii | ISO 9001 certification is required. | --Select--
|  |  |  | • ISO 9001 certified QMS must also include a section for managing the required regulatory documentation (i.e., TGA registration, TGAs Uniform Recall Procedure, etc.). | --Select--
|  | h |  | All products offered must comply with the relevant Australian Standards (or its International equivalent), Orders, Legislation and Regulations – collective ‘Compliance Requirement’. Refer to Appendix 2 - Compliance Requirements for a list of the minimum relevant Compliance Requirements. | --Select--
| 2.0 |  |  | Packaging and Labelling
|  | a |  | Sterile products will be packaged in a manner that protects the contents from contamination during transportation, storage and handling. | --Select--
|  | b |  | All tendered products must be labelled in accordance with Essential Principle 13 of Schedule 1 of the Therapeutic Goods (Medical Devices) Regulations 2002. | --Select--
|  | c |  | Any carton/box greater than 15kg must have a "Heavy" label externally adhered on | --Select--
|  | d |  | Items will be delivered in accordance with the manufacturer’s instructions. | --Select--
|  |  | i | Data loggers where applicable | --Select--
|  |  | ii | At the request of the Participating Health Service, the successful Respondent is to supply evidence that transport conditions are maintained. | --Select--
|  | e |  | All cartons/boxes containing consumables must have:
|  |  | i | The consumable batch number clearly visible externally on each UOM (carton/box), | --Select--
|  |  | ii | The Product Expiry Date clearly visible on each UOM (carton/box), | --Select--
|  |  | iv | Any special storage requirements or instructions clearly visible on each UOM (carton/box) | --Select--
|  |  | v | Instructions on any warnings, restrictions, or precautions that are to be taken in relation to the use of tendered product contained within each UOM (carton/box), may be presented as pictograms. | --Select--
|  | f |  | All cartons/boxes containing consumables should have manufacturing date or expiry date visible on each UOM (carton/box). | --Select--
|  | g |  | Each individually packaged tendered product must have a label that:
|  |  | i | Is visually legible to read | --Select--
|  |  | ii | In English | --Select--
|  |  | iii | Includes Batch, Lot, or serial number | --Select--
|  |  | iv | Includes expiry date | --Select--
|  |  | v | Classifies the level of reusability (e.g., single use only, single patient, reusable, etc.) | --Select--
|  |  | vi | Has the word 'STERILE', if product sterile | --Select--
|  |  | vii | Indicates the presence of latex, if either the tendered product or the packaging contain Latex | --Select--
|  |  | viii | MRI compatible (for implantable products) | --Select--
|  |  | ix | Tracking/traceable identification labels, if applicable | --Select--
|  | h |  | The packaging for each individually packaged consumable must:
|  |  | i | Be easy to open, | --Select--
|  |  | ii | Robust to protect the quality of tendered product, and | --Select--
|  |  | iii | If the tendered product is supplied as sterile, then | --Select--
|  |  |  | • Openable in a way, that the sterile integrity of tendered product remains unaffected, | --Select--
|  |  |  | • Complies with ISO 11607-1 Packaging for terminally sterilized medical devices — Part 1: Requirements for materials, sterile barrier systems and packaging systems, and | --Select--
|  |  |  | • Packaged in a manner that protects the contents from contamination during transportation, storage and handling. | --Select--
|  | i |  | Tendered products must be delivered in accordance with the manufacturer’s instructions. | --Select--
|  | j |  | All products packaged together are to have the same expiry date. | --Select--
| 2.1 |  |  | Safety Data Sheets
|  | a |  | Respondents must have links to downloadable Safety Data Sheet (SDS) files on their website, for applicable products. | --Select--
|  | b |  | Successful Respondents must provide clear instruction for the proper storage of all hazardous products offered, electronically and/or in hard copy, upon request from Participating Health Services. | --Select--
|  | c |  | Successful Respondents must provide Safety Data Sheets (SDS) for applicable products offered, electronically and/or in hard copy, upon request from Participating Health Services. | --Select--
|  | d |  | All SDS must:
|  |  | i | Be specific to the products offered | --Select--
|  |  | ii | Comply with the National Code of Practice for the Preparation of Safety Data Sheets [NOHSC: 2011(2003)] or the National Model Code of Practice for the Preparation of Safety Data Sheets for Hazardous Chemicals (2016). | --Select--
|  |  | iii | Be freely accessible without authentication | --Select--
|  |  | iv | Available for each product that contains a liquid or a chemical agent | --Select--
| 3.0 |  |  | Product Shelf Life
|  | a |  | Unless mutually agreed otherwise (in writing) between the Purchasing Party and the Supplier, the Supplier must ensure that the Goods will, upon delivery, have a remaining Shelf Life that is not less than the period set out in the Module Particulars (at least 12 months shelf life). | --Select--
|  |  | i | If not agreed to by Participating Health Service and stock needs to be disposed of due to expired shelf life, then disposed product must be replaced by successful Respondent at no cost to the Participating Health Service. | --Select--
|  | b |  | Products manufactured with a shelf life of 12 months or less, must be delivered with at least 6 months of shelf life, unless otherwise mutually agreed to with the Participating Health Service.
|  |  | i | If not agreed to by Participating Health Service and stock needs to be disposed of due to expired shelf life, then disposed product must be replaced by successful Respondent at no cost to the Participating Health Service. | --Select--
|  | c |  | If Participating Health Service agrees to receiving product with short shelf life, then the product should be offered at a reduced price or cost price, whichever is lower. | --Select--
| 4.0 |  |  | Recall Process
|  | a |  | All recalls must be managed in line with the TGA’s Uniform Recall Procedure for Therapeutic Goods (URPTG) | --Select--
|  |  | i | Successful Respondents must receive and accept a Recall Notice Acknowledgement Forms electronically from Participating Health Services via GS1 Recall Health. | --Select--
|  | b |  | All TGA classified Class I recall actions (as defined in TGA’s URPTG) must also comply with the requirements of ‘Part B section 7.1 - Repairs and replacements under warranty‘ located within this document. | --Select--
|  | c |  | Where there has been a Product Recall, the successful Respondent must reimburse, issue a credit, or replace affected stock within five (5) Business Days of having received the Participating Health Service’s Acknowledgement Form and as instructed by the Ordering Participating Health Service. | --Select--
|  | d |  | Successful Respondents must provide an investigation report to close off incidents | --Select--
| 5.0 |  |  | Backorders and Discontinued Lines
|  | a |  | In the event that:
|  |  | i | A product is unavailable for a period of two or more consecutive weeks, or;
|  |  |  | The successful Respondent will contact (at a minimum) the following: | --Select--
|  |  |  | • Supply Manager / Procurement Officer of all affected Participating Health Services, and | --Select--
|  |  |  | • Pathology Business Managers of all affected Participating Health Services, and | --Select--
|  |  |  | • HSV | --Select--
|  | b |  | Successful Respondents will inform the affected Participating Health Services and HSV of: | --Select--
|  |  | i | • The anticipated timeframe for resolving the issue
|  |  | ii | • The availability of an agreed substitute product | --Select--
| 6.0 |  |  | Infection Control
|  | a |  | Respondents must list in the Product Catalogue, all the individual components on the tendered equipment that are reusable and require cleaning between patients. | --Select--
|  | b |  | Reprocessing of reusable components must comply with the requirements of AS/NZ 4187 Reprocessing of reusable medical devices in health service, and | --Select--
|  |  | i | Only using TGA approved agents on the relevant components of the reprocessing cycle. | --Select--
|  | c |  | Upon the request of a Participating Health Service, successful Respondent must provide reprocessing instructions, including the list of TGA approved agents, prior to purchase of equipment as part of the product evaluation, and | --Select--
|  |  | i | Provide the cleaning details of all reusable products when requested by a Participating Health Service, for the life of the product. | --Select--
|  | d |  | To meet the Australian Guidelines for the Prevention and Control of Infection in Healthcare (2010), tendered medical equipment must be capable of being cleaned with a variety of cleaning agents in order to clean and disinfect the equipment as prescribed in AS/NZS 4187:2014 Reprocessing of reusable medical devices in health service organizations. | --Select--
|  | e |  | The external covering of all tendered equipment (excluding touchscreen displays), must be capable of being cleaned with one of the following types of disinfectant agents without causing any deterioration to the covering: | --Select--
|  |  | i | Chlorine and Chlorine compounds, or | --Select--
|  |  | ii | Hydrogen peroxide, or | --Select--
|  |  | iii | Quaternary ammonium compounds. | --Select--
|  | f |  | Respondents must ensure there are suitable disinfectant products (including wipes), that don’t cause degradation to the equipment case, available for Participating Health Services to purchase from an Australian supplier. | --Select--
|  |  | i | Suitable disinfectant products should be listed on HSV's HPVC2016-124 Hand Hygiene, Disinfectants and Chemical Products agreement | --Select--
|  | g |  | Respondents must list the disinfectant products suitable for use on tendered equipment in the Product Catalogue, as well as | --Select--
|  |  | i | List all suitable cleaning products (e.g., which detergent, % alcohol wipe, etc.) | --Select--
|  | h |  | Upon the request of a Participating Health Service, successful Respondents must provide a full list of suitable cleaning and disinfection products (including wipes), which includes the maximum permissible concentration level of each active ingredient. | --Select--
|  | i |  | To facilitate cleaning, tendered products should have: | --Select--
|  |  | i | Smooth surfaces with no sharp edges, deep crevices or other dirt traps and be able to withstand hospital grade cleaning and/or disinfectant agents, and | --Select--
|  |  | ii | No hook & loop fastener (i.e. Velcro®), and | --Select--
|  |  | iii | Surface finishes that are suitable (do not deteriorate) with the continual use of hospital grade cleaning and/or disinfectant agents. | --Select--
| 7.0 |  |  | Reference Sites
|  | a |  | Respondents are required to provide a maximum of three (3) Australasian clinical references in the relevant columns of the Tender Response Worksheet for each class or category of product offered in this submission unless the product offered is currently on HPVC2017-042 Pathology Consumables and has sales within Participating Health Services. | --Select--
|  | b |  | References must be:
|  |  | i | Pathology Staff (as delegated by Pathology Managers), Principal Pathology Scientists, Pathology Collectors, CPAs or Practising Clinicians/Nurse | --Select--
|  |  | ii | From a public or private health services within Australasia | --Select--
|  |  | iii | Currently using or have trialled and evaluated the product offered in this submission. | --Select--
|  |  | iv | Complete and accurate with referee contact details including phone number/s and a health service email address. | --Select--
|  | c |  | Where a product category contains a variety of specific subcategories, Respondents are to ensure that the reference sites provided are representative of the full range of products tendered. | --Select--
|  | d |  | HSV reserves the right to verify this information with the nominated referees and seek user feedback as to the acceptability of the products. | --Select--
|  | e |  | Respondents should not nominate a referee without their express permission. | --Select--
|  | f |  | HSV may preference references sites from larger Royal College of Pathologists of Australia (RCPA) accredited sites.
https://www.rcpa.edu.au/Fellows/Laboratory-Accreditation-for-Training
| 8.0 |  |  | Supplier ESG
| 8.1 |  |  | Sustainability
|  | a |  | Respondents should have a formal Environmental Management System in place. | --Select--
|  |  | i | Preference will be given to Respondents that have their Environmental Management System independently certified to ISO14001 or equivalent | --Select--
|  | b |  | For each product tendered, the Respondent must provide the information requested below for the product and its accompanying packaging in the relevant columns of the Tender Response Worksheet or upon request by a Facilities Based Service: | --Select--
|  |  | i | For the primary packaging:
|  |  |  | • The material(s) used | --Select--
|  |  |  | • Weight in grams | --Select--
|  |  |  | • The percentage of recycled content, if known | --Select--
|  |  |  | • If the packaging is recyclable | --Select--
|  |  |  | • If items of recyclable packaging are marked with a recycling symbol (e.g. Mobius loop) | --Select--
|  |  | ii | For plastic items:
|  |  |  | • The Plastics Identification Code | --Select--
|  |  |  | • If the Plastics Identification Code is marked on the item. | --Select--
|  |  | iii | Any Research & Development to improve waste management and/or reduce carbon footprint. | --Select--
|  | c |  | Preference may be provided to Respondents who are members of the Australian Packaging Covenant Organisation (APCO) | --Select--
|  | d |  | For each product tendered, the Respondent may nominate if the product is an environmentally-preferable product within its category in the relevant column of the Tender Response Worksheet. Respondents must provide additional information as an attachment to substantiate any claim. Respondents may either: | --Select--
|  |  | i | Provide certification by an independent third-party that the product conforms to a relevant environmental specification (an “Eco-label”), which is compliant to ISO Standard 14024 (preferred) | --Select--
|  |  | ii | Provide an Environmental Product Declaration for self-declared environmental claims. In this case the Respondent is referred to AS/NZS ISO Standard 14021, ISO 14025, and the Australian Competition and Consumer Commission guidance on Green Marketing and the Consumer Law for general advice. | --Select--
|  | e |  | Upon request by HSV and/or a Participating Health Service, Respondents must provide the following information:
|  |  | i | Environmental sustainability initiatives | --Select--
|  |  | ii | Environmental impact data reports | --Select--
|  |  | iii | Carbon footprint information | --Select--
|  | f |  | Successful Respondents must attend 6 monthly Supplier Partnership Meetings, or as requested by HSV, to assist with the development of mutually agreed Key Performance Indicators (KPI's) focusing on environmental initiatives. | --Select--
| 8.2 |  |  | Greenhouse emissions
|  | a |  | Victoria has legislated a target of Net Zero Carbon by 2050 under the Climate Change Act 2017 (Vic), with interim targets for state-wide emissions to be 28-35% below 2005 levels by 2025, and 45-50% below 2005 levels by 2030; refer to: | --Select--
|  |  |  | https://www.climatechange.vic.gov.au/victorias-climate-change-strategy | --Select--
|  | b |  | Participating Health Services may preference Respondents who have an emission reduction plan and | --Select--
|  |  | i | Commit to voluntarily reporting on their annual Greenhouse Gas emissions, | --Select--
|  |  | ii | Have emissions efficiency metrics in place, and | --Select--
|  |  | iii | Make progress on their own emissions reduction plans. | --Select--
| 8.3 |  |  | Recycling
|  | a |  | Respondents should offer waste reduction initiatives or recycling collection services, for applicable products, to Participating Health Services. | --Select--
|  |  | i | List the waste reduction / recycling initiatives on offer to Participating Health Services. | --Select--
|  |  | ii | Preference will be given to Respondents that offer a soft plastics collection and recycling service, similar to TerraCycle | --Select--
|  |  | iii | All respondents should supply a plan to reduce waste (packaging and products) by 30% | --Select--
|  | b |  | Upon request by HSV and/or a Participating Health Service, Respondents must provide the following information: | --Select--
|  |  | i | Any mechanism available to assist Participating Health Services in the reduction of waste | --Select--
|  |  | ii | The availability and associated conditions of a reverse logistics service for health services, including regional areas. | --Select--
|  |  | iii | The costs to the Participating Health Service for the recycling collection service on offer by the successful Respondent. | --Select--
| 8.4 |  |  | Disposal
|  | a |  | For tendered products that contain a liquid or chemical agent, the successful Respondent must immediately provide disposal instructions, upon the request from a Participating Health Service. | --Select--

## 3-Specimen Containers
Category 3: Specimen Containers
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 3 |  |  |  | Specimen Containers | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Intended Purpose for Use
|  | a |  | Specimen Containers
|  |  | i | A single use, sterile or non-sterile vessel, intended for the short-term storage and/or transportation of a clinical specimen so that it can be used effectively for analytical/diagnostic purposes. All typically include a screw cap or Sealed lid to prevent spillage, and a label for documenting patient identification. | --Select-- |  |  | --Select--
|  | b |  | Culture Tubes |  |  |  | Fully comply
|  |  | i | A sterile, single-use tube-like container used to hold a culture specimen, | --Select-- |  |  | Partially comply
|  |  | ii | May contain a tipped swab or an absorbent piece of material on a shaft for the collection of clinical material , and | --Select-- |  |  | Does not comply
|  |  | iii | May contain a substance to maintain the viability of suspected microorganisms contained in a specimen, whilst the specimen is in transit to the laboratory. | --Select-- |  |  | Not Applicable
| 2.0 |  |  | General Requirements
|  | a |  | Collection containers culture tubes tendered in this category are not for blood or blood product collection use.
|  | b |  | A full range of Specimen Collection Containers for the collection and transport of a range of specimen types and sizes is required to meet clinical needs. This includes containers for: | --Select--
|  |  | iii | Cerebrospinal fluid collection tubes | --Select--
|  |  | iv | 24-hour urine specimen containers, typically 2-4 litres | --Select--
|  |  | v | Faecal specimen containers (where applicable include a preservative additive) | --Select--
|  |  | vi | Intraoperative tissue specimen containers for histology examinations | --Select--
|  |  | vii | Sputum/saliva specimen containers | --Select--
|  |  | viii | Specimen containers containing 10% formal saline preservative solution | --Select--
|  |  | ix | Human papillomavirus cytology specimen containers with transport buffer solution | --Select--
|  |  | x | Human papillomavirus self-collection kits | --Select--
|  |  | xi | Microbiological collection kits/swabs, bacterial or fungal | --Select--
|  |  | xii | Genetic test kits | --Select--
|  |  | xiii | Virus PCR test kits | --Select--
|  | c |  | For specimen containers with a capacity in excess of one litre, preference will be given to those that:
|  |  | i | Incorporate a handle | --Select--
|  |  | ii | Are leak proof | --Select--
|  |  | iii | have ergonomic opening and closing processes | --Select--
|  | d |  | All tendered specimen containers must have lids or caps that will:
|  |  | i | Seal securely | --Select--
|  |  | ii | Be able to be reopened in a manner that is safe for both the clinician and the specimen | --Select--
|  |  | iii | Be leak-proof under conditions of normal use and transport. | --Select--
|  |  | iv | Remain leak-proof under transportation in a pneumatic chute delivery system | --Select--
|  |  |  | • Confirmed in writing by Respondent | --Select--
|  | e |  | Preference will be given to Specimen Containers that are supplied with labels that have space for the following information:
|  |  | i | Name | --Select--
|  |  | ii | Patient registration number/ UR number/ Reference Number | --Select--
|  |  | iii | Site | --Select--
|  |  | iv | Date of birth | --Select--
|  |  | v | Date and time of collection | --Select--
|  |  | vi | Signature of collector (where applicable). | --Select--
|  | f |  | For each tendered Specimen Container, Respondents must provide on the Tender Response Worksheet the information required on the Patient label. | --Select--
|  | g |  | For faecal collection containers, preference will be given to containers that:
|  |  | i | Incorporate a scoop or similar mechanism | --Select--
|  |  | ii | Are clear (see through; that are non-opaque). | --Select--
|  | h |  | For each tendered cerebrospinal fluid (CSF) collection tubes, tube must:
|  |  | i | Have a V-shaped base surrounded by a flat rim or skirt | --Select--
|  |  | ii | Be capable of standing in a vertical position | --Select--
|  |  | iii | Be packaged sterile in a peel pack for ease of access and to minimise the risk of contamination when passing onto the sterile field | --Select--
|  |  | iv | Where packaged in multiples, the tubes will be clearly numbered. | --Select--
|  | i |  | Containers for the collection of histology specimens must:
|  |  | i | Be manufactured from a rigid, chemical resistant material | --Select--
|  |  | ii | Be clean and free from debris. | --Select--
|  | j |  | Formalin filled specimen containers must:
|  |  | i | Comply with state and federal requirements for safe packaging and labelling of dangerous and hazardous goods. | --Select--
|  |  | ii | Contain tinted formalin | --Select--
|  |  | iii | Be leak-proof and airtight | --Select--
|  |  | iv | Be free of contaminants and precipitation | --Select--
|  |  | v | Be packaged in a manner that maintains individual containers in an upright position | --Select--
|  |  | vi | Be clearly marked with a lot number, expiry date and hazard label. | --Select--
|  |  | vii | Have the Safety Data Sheet (SDS) posted on Respondent's webpage for Participating Health Services to download | --Select--
|  | k |  | Culture tubes must be:
|  |  | i | Pyrogen free, | --Select--
|  |  | ii | Clearly labelled with the transport media (where applicable), | --Select--
|  |  | iii | Clearly marked with a lot number and expiry date, | --Select--
|  |  | iv | Accompanied by/include an Elution or FLOQ swab (where applicable), and | --Select--
|  |  | v | Suitable for processing on laboratory automation system. | --Select--
|  |  |  | • List compatible laboratory automation systems (track systems) | --Select--
|  | l |  | Cytology specimen containers with transport buffer solution must:
|  |  | i | Be clearly marked with a Lot Number and expiry date | --Select--
|  | m |  | Sputum and urine containers should be suitable for processing on laboratory automation systems. | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each Specimen Container offered, Respondents must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Brand name | --Select--
|  |  | ii | Sterile or non-sterile (where applicable) | --Select--
|  |  |  | • Method of sterilisation (e.g. Ethylene Oxide, Gamma). | --Select--
|  |  | iii | Shelf life from date of manufacture in months | --Select--
|  |  | iv | Package Presentation (e.g. bulk pack, multi pack) | --Select--
|  |  | v | Lid: | --Select--
|  |  |  | • Colour | --Select--
|  |  |  | • Type (e.g. screw cap) | --Select--
|  |  | vi | Container | --Select--
|  |  |  | • Type (e.g. cytology, faecal collection, urine, etc.) | --Select--
|  |  |  | • Volume in millilitres | --Select--
|  |  |  | • Graduations (where applicable) | --Select--
|  |  |  | • Material (e.g. polypropylene) | --Select--
|  |  |  | • Colour (e.g. translucent, opaque) | --Select--
|  |  | vii | Patient identification label (where applicable) | --Select--
|  |  | viii | Contents (where applicable) (e.g. brush, preservative fluid) | --Select--
|  |  | ix | For CSF collection tubes (where applicable): | --Select--
|  |  |  | • Presentation (e.g. single or numbered multiple) | --Select--
|  |  | x | Containers for faecal collection (where applicable): | --Select--
|  |  |  | • Collection mechanism (where applicable) (e.g. scoop, spoon) | --Select--
|  |  |  | • Label for Collection Start and Finish time | --Select--
|  |  |  | • Timed faecal collection (where applicable) (e.g. 48 hour) | --Select--
|  |  | xi | Containers for 24 hour urine collection (where applicable): | --Select--
|  |  |  | • Size of container opening (e.g. 70mm) | --Select--
|  |  |  | • Pour spout (where applicable) | --Select--
|  |  |  | • Handle (where applicable) | --Select--
|  |  |  | • Profile (e.g. horizontal) | --Select--
|  |  |  | • Collection cup (where applicable) | --Select--
|  |  |  | • Label for Collection Start and Finish time | --Select--
|  |  | xii | Containers for histology specimens (where applicable): | --Select--
|  |  |  | • Handle (where applicable). | --Select--
|  |  | xiii | Formalin filled specimen containers (where applicable): | --Select--
|  |  |  | • Tint colour | --Select--
|  |  |  | • Volume of Formalin in millilitres | --Select--
|  |  | xiv | For formalin filled specimen containers (where applicable), the Respondents must advise in the Tender Response Worksheet: | --Select--
|  |  |  | • Of any specific storage and handling conditions required for safe handling and use in accordance with the relevant Local, State and Federal regulations. | --Select--
|  |  |  | • The stability of Human Papillomavirus in the collection device under the sample storage conditions recommended pre and post testing. | --Select--
|  |  | xv | Containers for culture collection (where applicable): | --Select--
|  |  |  | • Specimen type (e.g. viral, anaerobic) | --Select--
|  |  |  | • Purpose of use (e.g. bacterial, culture and viral PCR) | --Select--
|  |  |  | • Swab tip configuration and material (where applicable) (e.g. flocked rayon) | --Select--
|  |  |  | • Swab shaft material (where applicable) (e.g. polyester, plastic, wood, etc.) | --Select--
|  |  |  | • Shaft breaking point distance from tip (where applicable) (millimetres) | --Select--
|  |  |  | • Transport media (where applicable) (e.g. Liquid Amies Medium) | --Select--
|  |  | xvi | For liquid filled cytology specimen containers (where applicable), the Respondents must advise in the Tender Response Worksheet:
|  |  |  | • Assays that have been validated under their TGA registration using the liquid based cytology preservative being offered. | --Select--
|  |  |  | • The stability of Human Papillomavirus in the collection device under the sample storage conditions recommended pre and post testing. | --Select--
|  | b |  | For each Specimen Container offered, Respondents must provide in the Tender Response Worksheet:
|  |  | i | Whether the container is resistant to Hydrochloric Acid and/or metal free | --Select--
|  |  | ii | The presence of patient collection instructions for each container for 24 hour urine or timed faecal collection | --Select--
|  |  | iv | Recommended storage conditions | --Select--
|  |  | iii | The capacity to supply Specimen Containers with customised labelling and/or barcoding. | --Select--
| 4.0 |  |  | Substances of Concern
|  | a |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of natural rubber latex in either:
|  |  | i | The product (yes/no), or | --Select--
|  |  | ii | Its accompanying packaging (yes/no). | --Select--
|  | b |  | The presence of latex must be clearly indicated on the product or its accompanying packaging. | --Select--
|  | c |  | Participating Health Services will preference items that are latex free, unless otherwise indicated. | --Select--
|  | d |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of plasticisers (i.e., DEHP) in the tendered product (yes/no). | --Select--
|  |  | i | If the tendered product contains any plasticiser, then list the plasticiser/s used. | --Select--
|  | e |  | Under normal intended use, plasticiser/s must not leach from the host material of tendered product under any given operating condition. | --Select--
|  | f |  | Participating Health Services will preference products that are free of low molecular weight polymer plasticisers. | --Select--

## 4-PoC Testing Consumables
Category 4: Point-of-Care Testing Consumables
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 4 |  |  |  | Point-of-Care Testing Consumables | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Intended Purpose for Use
|  | a |  | Testing Dipsticks (Non-Meter)
|  |  | i | A collection of reagents and other associated materials on a non-meter test strip intended to be used for the qualitative and/or semi-quantitative screening of (body) fluids within a short time. | --Select-- |  |  | --Select--
|  | b |  | Test Kits |  |  |  | Fully comply
|  |  | i | A lateral flow device, collection of reagents and other associated materials on a pad in a plastic casing, for rapid qualitative and/or semi-quantitative screening of a collected sample. | --Select-- |  |  | Partially comply
|  | c |  | Test Strips |  |  |  | Does not comply
|  |  | i | A collection of reagents and other associated materials on a strip intended to be used with portable rapid test blood chemistry analysers (e.g., Glucometer) for the qualitative and/or semi-quantitative screening of a capillary whole blood. | --Select-- |  |  | Not Applicable
| 2.0 |  |  | General Requirements
|  | a |  | A full range of point-of-care testing consumables is required to meet clinical needs. This includes:
|  |  | i | Dipsticks for
|  |  |  | • Urinary drug testing | --Select--
|  |  |  | • PH testing of liquids | --Select--
|  |  | ii | Test Kits screening for
|  |  |  | • Substances of Abuse | --Select--
|  |  |  | • COVID-19, RSV, Flu A/B, etc. | --Select--
|  |  | iii | Test Strips for use with Portable Rapid Test Blood Chemistry analysers (e.g., Glucometers and the likes of) to measure the concentrations of:
|  |  |  | • Glucose, and/or | --Select--
|  |  |  | • Cholesterol, and/or | --Select--
|  |  |  | • Ketones, and/or | --Select--
|  |  |  | • Coagulation ratio in fresh capillary whole blood. | --Select--
|  |  |  | • Lactate. | --Select--
|  | b |  | Dipsticks must:
|  |  | i | Provide clear colour change when pathological/pH value changes are detected. | --Select--
|  |  | ii | Be stored in a container that reseals to prevent degradation of the test strips. | --Select--
|  |  | iii | Have their packaging marked with the expiry date and lot number | --Select--
|  | d |  | Packaging that hold dipsticks should:
|  |  | i | Have clear and easy to read instructions | --Select--
|  |  | ii | Have clear and easy to interpret test result indicators on the container | --Select--
|  | c |  | Dipsticks should be able to be read using automated analysers | --Select--
|  | e |  | Test Kits must:
|  |  | i | Provide clear colour change when intended pathological condition detected. | --Select--
|  |  | ii | Be accompanied with clear and easy to read instructions in English | --Select--
|  |  | iii | Be individually wrapped | --Select--
|  |  | iv | Have their packaging marked with the expiry date and lot number | --Select--
|  |  | v | Have a testing time < 20 minutes | --Select--
|  |  | vi | For Home Use Self testing, IFU must be provided for each test, and for Health Professional Supervised Point of Care kit IFU must be provided for each kit | --Select--
|  |  | vii | Be able to demonstrate a limit of detection in copies of viral RNA per mL or tissue culture infectious dose per mL of transport media for key variants | --Select--
|  | f |  | Test Strips must:
|  |  | i | Be used with a portable rapid test blood chemistry analyser | --Select--
|  |  | ii | Have their packaging marked with the expiry date and lot number, if required | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each tendered product, Respondents must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Brand name | --Select--
|  |  | ii | The number of tests available on each tendered product (e.g. 1, 10, 12) | --Select--
|  |  | iii | Length of time in ‘seconds’ for results e.g. 60 seconds | --Select--
|  |  | iv | Shelf life from date of manufacture in months | --Select--
|  |  | v | Dipsticks (where applicable)
|  |  |  | • State intended purpose of dipstick (testing for) | --Select--
|  |  |  | • List of test available on strip | --Select--
|  |  | vi | Test Kits (where applicable)
|  |  |  | • State intended purpose of the kit (testing for) | --Select--
|  |  |  | • List each individual test | --Select--
|  |  |  | • Sensitivity of each test | --Select--
|  |  |  | • Specificity of each test | --Select--
|  |  | vii | Test Strips (where applicable)
|  |  |  | • List the chemicals/tests measured | --Select--
|  |  |  | • Sample size in microliters | --Select--
|  |  |  | • Individually wrapped (yes/no) | --Select--
| 4.0 |  |  | Substances of Concern
|  | a |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of natural rubber latex in either:
|  |  | i | The product (yes/no), or | --Select--
|  |  | ii | Its accompanying packaging (yes/no). | --Select--
|  | b |  | The presence of latex must be clearly indicated on the product or its accompanying packaging. | --Select--
|  | c |  | Participating Health Services will preference items that are latex free, unless otherwise indicated. | --Select--
|  | d |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of plasticisers (i.e., DEHP) in the tendered product (yes/no). | --Select--
|  |  | i | If the tendered product contains any plasticiser, then list the plasticiser/s used. | --Select--
|  | e |  | Under normal intended use, plasticiser/s must not leach from the host material of tendered product under any given operating condition. | --Select--
|  | f |  | Participating Health Services will preference products that are free of low molecular weight polymer plasticisers. | --Select--

## 4A-PoC Meters
Category 4A: Point-of-Care Meters
Supplier: |  |  |  |  | Enter Company Name
Manufacturer: Model Name: Model Number: Ordering Part Number: |  |  |  |  | Enter Manufacturer's Name Enter Model Name Enter Model Number Enter Part Number as per TRW |  | Enter Manufacturer's Name Enter Model Name Enter Model Number Enter Part Number as per TRW |  | Enter Manufacturer's Name Enter Model Name Enter Model Number Enter Part Number as per TRW |  | Enter Manufacturer's Name Enter Model Name Enter Model Number Enter Part Number as per TRW |  | Enter Manufacturer's Name Enter Model Name Enter Model Number Enter Part Number as per TRW |  | Enter Manufacturer's Name Enter Model Name Enter Model Number Enter Part Number as per TRW
[5 empty] | Insert product picture |  | Insert product picture |  | Insert product picture |  | Insert product picture |  | Insert product picture |  | Insert product picture
Clause Identifiers |  |  |  | Text | Compliance of Tendered Item |  | Compliance of Tendered Item |  | Compliance of Tendered Item |  | Compliance of Tendered Item |  | Compliance of Tendered Item |  | Compliance of Tendered Item
Cat 4A |  |  |  | Point-of-Care Meters | Fully comply Partially comply Does not comply Not Applicable | Please specify | Fully comply Partially comply Does not comply Not Applicable | Please specify | Fully comply Partially comply Does not comply Not Applicable | Please specify | Fully comply Partially comply Does not comply Not Applicable | Please specify | Fully comply Partially comply Does not comply Not Applicable | Please specify | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Intended Purpose for Use
|  | a |  | Blood Glucose/Ketone Meters
|  |  | i | A battery-operated, handheld device that uses test strips, onto which a blood sample is applied, to precisely measure both glucose and ketone levels, enabling individuals with diabetes mellitus to effectively monitor and manage their blood sugar and preventing diabetic ketoacidosis. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | ii | Meter may also quantify other blood components (e.g., hematocrit, etc.) | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | b |  | Blood Lactate Meters
|  |  | i | A battery-operated, handheld device that uses test strips, onto which a blood sample is applied, for quantitative measurement of lactate levels; to aid in assessing conditions such as perinatal asphyxia, congenital heart disease, metabolic acidosis, sepsis, and general unwellness. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
| 2.0 |  |  | General Requirements
|  | a |  | All point-of-care meters offered must be listed on the ARTG. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | b |  | All point-of-care meters offered must store data locally and must have no network connectivity features or data export functions. | --Select--
|  |  | i | Point-of-care meters with network connectivity or data export capabilities are in-scope of HPVC2026-115 Pathology Equipment and Associated Consumables Contract | --Select--
|  |  | ii | Test strips for point-of-care meters are within the scope of this ITS activity. | --Select--
|  | c |  | Button batteries present a serious swallowing hazard, particularly to young children. Therefore, their use should be minimised whenever possible. When button batteries are essential, equipment must incorporate a secure, child-resistant battery compartment requiring a tool (not a coin) for access. Furthermore, the instruction manual must include detailed instructions and safety warnings regarding button battery handling and potential hazards. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | d |  | Point-of-care meters that eliminate the need for control solution testing are encouraged. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | e |  | Blood Glucose/Ketone Meters offered must:
|  |  | i | measure blood sugar levels from a capillary whole blood sample | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
• also encouraged are venous, arterial and neonatal whole blood samples
|  |  | ii | require a sample size of no more than 10μL to analyse | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | iii | use amperometric (electrochemical) biosensors for the quantitative measurement of glucose and beta-hydroxybutyrate levels | --Select--
|  |  | iv | measure glucose between the range of at least 1.8 to 22.2 mmol/L | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | v | measure ketone between the range of at least 0.3 to 4.6 mmol/L | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | vi | measure hematocrit between the range of at least 25 to 60% | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | vii | store a minimum of 100 test results, including the date and time of each test, in memory that retains the data even when the battery is removed | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | viii | power off automatically after a period of time to conserve the battery | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | ix | have a visual low-battery warning indicator | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | f |  | Blood Lactate Meters offered must:
|  |  | i | measure blood lactate levels from a capillary whole blood sample | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | ii | require a sample size of no more than 10μL to analyse | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | iii | measure lactate between the range of at least 0.9 to 13.3 mmol/L | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | iv | store a minimum of 100 test results, including the date and time of each test, in memory that retains the data even when the battery is removed | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | v | power off automatically after a period of time to conserve the battery | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | vi | have a visual low-battery warning indicator | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
| 2.1 |  |  | Durability
|  | a |  | All offered point-of-care meters must have a lifecycle of greater than 5 years. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | b |  | Point-of-care meters must comply with the mechanical strength requirements specified of AS/NZS IEC 60601.1:2015, Section 15.3, which includes drop testing, stability testing, and impact testing. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | c |  | The point-of-care meter and its accessories must withstand standard hospital cleaners and disinfectants without damage or accelerated degradation. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each model point-of-care meter offered, the Respondent must submit:
|  |  | i | complete operator user manuals in PDF format, and | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | ii | comprehensive product brochures in PDF format. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | b |  | For each model point-of-care meter offered, the Respondent must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | ARTG number | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | ii | weight of the meter (g)
|  |  | iii | dimensions of the meter, L x W x H (cm)
|  |  | iv | size of the display, H x W (cm)
|  |  | v | range of measurement
• glucose (mmol/L)
• ketone (mmol/L)
• lactate (mmol/L)
• hematocrit (%)
• other blood component the meter can determine
|  |  | vi | test time (seconds)
|  |  | vii | lot specific coding of test strips required (Yes/No)
|  |  | viii | control solution testing checks (Yes/No)
|  |  | ix | memory capacity
• results viewable on meter with time and date
• control results with time and date
|  |  | x | methods used to transfer data from memory
|  |  | xi | state the battery chemistry (e.g. Alkaline, Nicad, Li-ion, etc.), size, and number of
• battery capacity, in number of tests
|  |  | xii | the 'Drop Test' height for the meter
|  |  | xiii | the Ingress Protection (IP) rating for both solids and liquids for the meter
|  |  | xiv | warranty (months)
|  |  | xv | suggested lifespan (years)
|  |  | xvi | Year 1st sold
| 4.0 |  |  | Substances of Concern
|  | a |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of natural rubber latex in either:
|  |  | i | The product (yes/no), or | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | ii | Its accompanying packaging (yes/no). | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | b |  | The presence of latex must be clearly indicated on the product or its accompanying packaging. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | c |  | Participating Health Services will preference items that are latex free, unless otherwise indicated. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | d |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of plasticisers (i.e., DEHP) in the tendered product (yes/no). | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  |  | i | If the tendered product contains any plasticiser, then list the plasticiser/s used. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | e |  | Under normal intended use, plasticiser/s must not leach from the host material of tendered product under any given operating condition. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--
|  | f |  | Participating Health Services will preference products that are free of low molecular weight polymer plasticisers. | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select-- |  | --Select--

## 5-Laboratory Chemicals
Category 5: Laboratory Chemicals
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 5 |  |  |  | Laboratory Chemicals | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Intended Purpose for Use
|  | a |  | Laboratory Chemicals |  |  |  | --Select--
|  |  | i | A range chemical solution intended to be used alone, or in combination with others to synthesise more complex solutions, for use in Pathology Laboratories in the testing of clinical specimens. | --Select-- |  |  | Fully comply
| 2.0 |  |  | General Requirements |  |  |  | Partially comply
|  | a |  | A range of volumes and concentrations of the following Laboratory Chemicals is required: |  |  |  | Does not comply
|  |  | i | Formalin | --Select-- |  |  | Not Applicable
|  |  | ii | Xylene | --Select--
|  |  | iii | Xylene substitutes | --Select--
|  |  | iv | Ethanol | --Select--
|  |  | v | Isopropanol | --Select--
|  |  | vi | Methanol | --Select--
|  |  | vii | Acetone | --Select--
|  |  | viii | Fast and slow decalcifying agents. | --Select--
|  |  | ix | Schiff’s Reagent | --Select--
|  | b |  | All Laboratory Chemicals offered must:
|  |  | i | Be clearly marked with a Lot Number, Date of Manufacture and Expiry Date | --Select--
|  |  | ii | Comply with Local, State and Federal requirements for the safe packaging and labelling of dangerous and hazardous goods. | --Select--
|  | c |  | Where applicable, Respondents will comply with the Code of Practice for the Storage and Handling of Dangerous Goods, 2013. | --Select--
|  | d |  | For chemical volumes of ≥15 litres, preference will be given to those that are supplied with an appropriate dispensing unit (e.g. cap tap). | --Select--
|  | e |  | For the lawful supply of excise duty-free undenatured ethanol intended for approved concessional purposes, the successful Respondent must be registered under the Australian Taxation Office (ATO) Concessional Spirits Scheme, and where required hold a specific authority or approval related to that supply. | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each Laboratory Chemical offered, Respondents must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Brand name | --Select--
|  |  | ii | Volume in litres or millilitres | --Select--
|  |  | iii | Concentration (where applicable) | --Select--
|  |  | iv | Buffered (where applicable) | --Select--
|  |  | v | Percentage (where applicable) | --Select--
|  |  | vi | Grade (e.g. AR, LR) (where applicable) | --Select--
|  |  | viii | Decalcifying agent: | --Select--
|  |  |  | • Base chemical | --Select--
|  |  |  | • Soft or hard | --Select--
|  |  | viii | Tint colour (where applicable) | --Select--
|  |  | ix | Dispensing unit (where applicable (e.g. cap tap). | --Select--
|  |  | x | Shelf life from date of manufacture in months | --Select--
| 3.1 |  |  | Additional Information
|  | a |  | For each tendered product, Respondents must have links to downloadable files on their website to the most current, manufacturer specific, Safety Data Sheet (SDS) available. | --Select--
|  |  | i | The SDS should include the chemical formula for tendered chemical. | --Select--
|  | b |  | Respondents must provide clear instruction for the proper storage of all hazardous products offered, electronically and/or in hard copy, upon request from Participating Health Services. | --Select--
|  | c |  | All SDS must:
|  |  | i | Be specific to the products offered | --Select--
|  |  | ii | Comply with the National Code of Practice for the Preparation of Safety Data Sheets [NOHSC: 2011(2003)] or the National Model Code of Practice for the Preparation of Safety Data Sheets for Hazardous Chemicals (2016). | --Select--
| 4.0 |  |  | Substances of Concern
|  | a |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of natural rubber latex in either:
|  |  | i | The product (yes/no), or | --Select--
|  |  | ii | Its accompanying packaging (yes/no). | --Select--
|  | b |  | The presence of latex must be clearly indicated on the product or its accompanying packaging. | --Select--
|  | c |  | Participating Health Services will preference items that are latex free, unless otherwise indicated. | --Select--
|  | d |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of plasticisers (i.e., DEHP) in the tendered product (yes/no). | --Select--
|  |  | i | If the tendered product contains any plasticiser, then list the plasticiser/s used. | --Select--
|  | e |  | Under normal intended use, plasticiser/s must not leach from the host material of tendered product under any given operating condition. | --Select--
|  | f |  | Participating Health Services will preference products that are free of low molecular weight polymer plasticisers. | --Select--

## 6-AP Consumables
Category 6: Anatomical Pathology Consumables
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 6 |  |  |  | Anatomical Pathology Consumables | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Intended Purpose for Use |  |  |  | --Select--
|  | c |  | Embedding Media
|  |  | i | A substance (e.g., paraffin wax, resin, synthetic polymers, etc.) used as a medium to surround and fill the spaces of a tissue specimen so that thin sections can be cut for histological/cytological microscope examinations. | --Select--
|  | g |  | Cytology Funnels
|  |  | i | A single use item, funnel used to deposit a thin layer of cells onto a microscope slide. | --Select--
|  | h |  | Cytology Cards
|  |  | i | Filter cards used in conjunction with Cytology Funnels, to wick away excess supernatant during centrifugation. | --Select--
| 2.0 |  |  | General Requirements
|  | a |  | A full range of generic Anatomical Pathology consumables is required to meet clinical needs in the Anatomical Pathology laboratory.
|  |  | iii | Embedding Media | --Select--
|  |  | viii | Cytology Cards | --Select--
|  |  | ix | Disposable Cytology Funnels with Cards | --Select--
|  | c |  | Tendered embedding media must:
|  |  | i | Minimise tissue compression | --Select--
|  |  | ii | Maintain ribbon continuity without crumbling, cracking or shredding | --Select--
|  |  | iii | Be free from debris | --Select--
|  |  | iv | Not discolour or produce resin precipitate | --Select--
|  |  | v | Not leave plasticiser residue | --Select--
|  |  | vi | Be in small pellets to be able to melt quickly | --Select--
|  | i |  | Tendered Cytology Cards and Funnels must:
|  |  | i | Be available as: filter cards only and disposable funnels with cards attached | --Select--
|  |  | ii | Be made of appropriate material that will allow optimal deposition of sample components into slide | --Select--
|  |  | iii | Be packaged to prevent build-up of moisture and contamination. | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each Anatomical Pathology consumable offered, Respondents must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Brand name | --Select--
|  |  | ii | Application (e.g. tissue, biopsy) | --Select--
|  |  | iii | Dimensions in millimetres (width and length, thickness where applicable) | --Select--
|  |  | iv | Colour (clear or opaque, where applicable) | --Select--
|  |  | v | Method of sterilisation (e.g. Ethylene Oxide, Gamma) (where applicable) | --Select--
|  |  | vi | Shelf life from date of manufacture in months | --Select--
|  |  | ix | Embedding media (where applicable)
|  |  |  | • Composition (e.g. paraffin and synthetic resin) | --Select--
|  |  |  | • Additive (where applicable) ( e.g. dimethyl sulfoxide) | --Select--
|  |  |  | • Presentation (e.g. pellets, block) | --Select--
|  |  |  | • Melting point in degrees Celsius | --Select--
|  |  |  | • Degradation point in degrees Celsius | --Select--
|  |  |  | • Weight in kilograms. | --Select--
|  |  | xv | Cytology Cards and Funnels (where applicable)
|  |  |  | • Plastic or Metal clips (where applicable) | --Select--
|  |  |  | • Sample volume in millilitres (e.g. 0.5ml, 0.4ml) | --Select--
|  |  |  | • Single or double configuration | --Select--
|  |  |  | • For each tendered Cytology Funnel, respondents will provide a list of compatible centrifuges. | --Select--
| 4.0 |  |  | Substances of Concern
|  | a |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of natural rubber latex in either:
|  |  | i | The product (yes/no), or | --Select--
|  |  | ii | Its accompanying packaging (yes/no). | --Select--
|  | b |  | The presence of latex must be clearly indicated on the product or its accompanying packaging. | --Select--
|  | c |  | Participating Health Services will preference items that are latex free, unless otherwise indicated. | --Select--
|  | d |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of plasticisers (i.e., DEHP) in the tendered product (yes/no). | --Select--
|  |  | i | If the tendered product contains any plasticiser, then list the plasticiser/s used. | --Select--
|  | e |  | Under normal intended use, plasticiser/s must not leach from the host material of tendered product under any given operating condition. | --Select--
|  | f |  | Participating Health Services will preference products that are free of low molecular weight polymer plasticisers. | --Select--

## 7-Test Tubes
Category 7: Tubes for Internal Laboratory Use
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 7 |  |  |  | Tubes for Internal Laboratory Use | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Intended Purpose for Use
|  | a |  | Aliquot Tubes |  |  |  | --Select--
|  |  | i | A single use tube intended to be used in the laboratory to contain a clinical specimen, reagent, or other material associated with in vitro diagnostic testing, for storage, transportation, or sample preparation. Designed to be placed in a storage rack in fridge, freezer or use on bench for the procedure, typically transparent, frequently includes a cap. Generally made of plastic with rounded or flat bottom. | --Select-- |  |  | Fully comply
|  | b |  | Test Tubes |  |  |  | Partially comply
|  |  | i | A single use small-diameter cylindrical tube intended to be used in the laboratory to hold materials/substances for testing procedures or general-purpose uses. Tubes are typically made of glass or plastic with a rounded, conical, or flat bottom with an open top; may have external screw threads for screw cap, marking spots, colour codes and/or graduations along the side. Comes in a variety of sizes. | --Select-- |  |  | Does not comply
|  | c |  | Centrifuge Tubes |  |  |  | Not Applicable
|  |  | i | A single use tube intended to be used in the laboratory to contain a clinical specimen, reagent, or other material associated with in vitro diagnostic testing, for separation by centrifugation. Designed to be placed in a centrifuge rotor for the procedure, typically transparent, frequently includes a cap, and may have graduations along the side. | --Select--
|  | d |  | Microcentrifuge Tubes
|  |  | i | A single use tube intended to be used in the laboratory to contain a clinical specimen, reagent, or other material associated with in vitro diagnostic testing, for separation by microcentrifugation. Designed to support greater centrifugal forces than Centrifuge Tubes, typically transparent, includes a snap cap, and may have graduations along the side. Compatible with all/most makes of microcentrifuge | --Select--
|  | e |  | Cryopreservation Tubes
|  |  | i | A single use tube intended to be used in the laboratory for the preservation, storage and/or transportation of a clinical specimen at temperatures of -130°C or colder, using liquid nitrogen. Typically made of plastic, or other strong synthetic material, has internal or external screw thread for screw caps, may have marking spots, colour codes, and/or graduations along the side. | --Select--
| 2.0 |  |  | General Requirements
|  | a |  | A full range of tube caps is required for the tendered tubes: | --Select--
|  |  | v | Tube Caps | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each Tube for Internal Laboratory Use offered, Respondents must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Brand name | --Select--
|  |  | ii | Application (e.g. aliquot tube, centrifuge tube) | --Select--
|  |  | iii | Material of construction (e.g. polystyrene, polycarbonate, glass) | --Select--
|  |  | v | Dimensions in millimetres | --Select--
|  |  | vii | Sterile (where applicable) | --Select--
|  |  |  | • Method of sterilisation (e.g. Ethylene Oxide, Gamma). | --Select--
|  |  | viii | Package presentation (e.g. bulk pack, multi pack) | --Select--
|  |  | x | Autoclavable (where applicable) | --Select--
|  |  | xi | Freezable (where applicable) | --Select--
|  |  |  | • Temperature range | --Select--
|  |  | xiii | Cap: | --Select--
|  |  |  | • Colour | --Select--
|  |  |  | • Material | --Select--
|  |  |  | • Type (e.g. screw, snap, with O-ring) | --Select--
|  |  |  | • Fitted or provided separately | --Select--
|  |  | xiv | Position of screw thread (e.g. interior surface of tube, exterior surface of tube) | --Select--
|  |  | xvi | Spare caps (where applicable). | --Select--
|  |  | xvii | Shelf life from date of manufacture in months | --Select--
| 4.0 |  |  | Substances of Concern
|  | a |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of natural rubber latex in either:
|  |  | i | The product (yes/no), or | --Select--
|  |  | ii | Its accompanying packaging (yes/no). | --Select--
|  | b |  | The presence of latex must be clearly indicated on the product or its accompanying packaging. | --Select--
|  | c |  | Participating Health Services will preference items that are latex free, unless otherwise indicated. | --Select--
|  | d |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of plasticisers (i.e., DEHP) in the tendered product (yes/no). | --Select--
|  |  | i | If the tendered product contains any plasticiser, then list the plasticiser/s used. | --Select--
|  | e |  | Under normal intended use, plasticiser/s must not leach from the host material of tendered product under any given operating condition. | --Select--
|  | f |  | Participating Health Services will preference products that are free of low molecular weight polymer plasticisers. | --Select--

## 8-Microbiology Consumables
Category 8: Microbiology Consumables
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 8 |  |  |  | Microbiology Consumables | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Intended Purpose for Use
|  | a |  | Petri Dishes
|  |  | i | A single-use circular, transparent shallow-sided dish with a flat bottom and a close-fitting lid, into which a culture is placed and kept whilst being incubated, treated and analysed. | --Select-- |  |  | --Select--
| 2.0 |  |  | General Requirements
|  | a |  | A full range of the following Microbiology Consumables are required to meet laboratory needs.
|  |  | i | plastic Petri Dishes | --Select--
|  | b |  | Tendered Petri dishes must be : | --Select--
|  |  | i | Visibly clean | --Select--
|  |  | ii | Free of rough or sharp edges | --Select--
|  |  | iii | Packaged in a manner that is sufficiently durable to protect the dishes from damage during normal storage, handling, transport and use. | --Select--
|  | c |  | Tendered Petri Dishes should be suitable for use on laboratory automation system. | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each Petri Dish offered, Respondents must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Brand name | --Select--
|  |  | ii | Sterile or clean | --Select--
|  |  |  | • Method of sterilisation (e.g. Ethylene Oxide, Gamma) (where applicable) | --Select--
|  |  | iii | Shelf life from date of manufacture in months | --Select--
|  |  | iv | Petri dishes (where applicable) | --Select--
|  |  |  | • Presentation (e.g. full plate, half plate) | --Select--
|  |  |  | • Dimensions in millimetres | --Select--
|  |  |  | • Stacking rings (where applicable) | --Select--
|  |  |  | • Lid (where applicable). | --Select--
|  |  |  | • List compatible automation systems (track systems) (where applicable). | --Select--
| 4.0 |  |  | Substances of Concern
|  | a |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of natural rubber latex in either:
|  |  | i | The product (yes/no), or | --Select--
|  |  | ii | Its accompanying packaging (yes/no). | --Select--
|  | b |  | The presence of latex must be clearly indicated on the product or its accompanying packaging. | --Select--
|  | c |  | Participating Health Services will preference items that are latex free, unless otherwise indicated. | --Select--
|  | d |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of plasticisers (i.e., DEHP) in the tendered product (yes/no). | --Select--
|  |  | i | If the tendered product contains any plasticiser, then list the plasticiser/s used. | --Select--
|  | e |  | Under normal intended use, plasticiser/s must not leach from the host material of tendered product under any given operating condition. | --Select--
|  | f |  | Participating Health Services will preference products that are free of low molecular weight polymer plasticisers. | --Select--

## 9-Pipettes&Tips
Category 9: Pipettes and Tips
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 9 |  |  |  | Pipettes and Tips | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Intended Purpose for Use
|  | b |  | Pipette Tips
|  |  | i | A device formed as a pointed cylindrical tip that is attached to pipettors. Pipette tips can have various features such as non-sterile, pre-sterilised, and filtered. It may show a gradient scale or not and is usually made of plastic and are disposable. | --Select-- |  |  | --Select--
| 2.0 |  |  | General Requirements |  |  |  | Fully comply
|  | a |  | A full range of the following pipettes/accessories is required to meet laboratory needs: |  |  |  | Partially comply
|  |  | ii | Pipette Tips for use with manual systems | --Select-- |  |  | Not Applicable
|  |  | iii | Polypropylene pipette tips must made from be virgin (non-recycled) polypropylene | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each Transfer Pipette offered, Respondents must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Brand name | --Select--
|  |  | ii | Sterile or non-sterile | --Select--
|  |  |  | • Method of sterilisation (e.g. Ethylene Oxide, Gamma) (where appliable) | --Select--
|  |  | iv | Length in millimetres | --Select--
|  |  | vi | Shelf life from date of manufacture in months | --Select--
|  |  | vii | Packaging presentation (e.g. single, multi pack) | --Select--
|  |  |  | • Multipack presentation (where applicable) (e.g. single direction, multi direction) | --Select--
|  |  | ix | Pipette Tips (where applicable)
|  |  |  | • Material of construction (e.g. polypropylene) | --Select--
|  |  |  | • Filter (where applicable) | --Select--
|  |  |  | • Conductive tip (where applicable) | --Select--
• Style (e.g. universal, Gilson)
|  |  |  | • Colour | --Select--
|  |  |  | • Plugged (where applicable) | --Select--
|  |  |  | • RNAse and/or DNAse free (where applicable) Pyrogen free (where applicable) | --Select--
|  | b |  | For each Pipette Tip offered, Respondents must provide in the Tender Response Worksheet:
|  |  | i | A list of common brands and model pipettes compatible with each Pipette Tip offered. | --Select--
| 4.0 |  |  | Substances of Concern
|  | a |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of natural rubber latex in either:
|  |  | i | The product (yes/no), or | --Select--
|  |  | ii | Its accompanying packaging (yes/no). | --Select--
|  | b |  | The presence of latex must be clearly indicated on the product or its accompanying packaging. | --Select--
|  | c |  | Participating Health Services will preference items that are latex free, unless otherwise indicated. | --Select--
|  | d |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of plasticisers (i.e., DEHP) in the tendered product (yes/no). | --Select--
|  |  | i | If the tendered product contains any plasticiser, then list the plasticiser/s used. | --Select--
|  | e |  | Under normal intended use, plasticiser/s must not leach from the host material of tendered product under any given operating condition. | --Select--
|  | f |  | Participating Health Services will preference products that are free of low molecular weight polymer plasticisers. | --Select--

## 10-Microscope Slides
Category 10: Microscope Slides and Accessories
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 10 |  |  |  | Microscope Slides and Accessories | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Intended Purpose for Use
|  | a |  | Microscope Slides
|  |  | i | A rectangular strips of glass or plastic onto which a clinical specimen is placed for further examination under microscope magnification. | --Select--
|  | c |  | Microscope Slide Mailers |  |  |  | Fully comply
|  |  | i | A device designed to safely store and provide appropriate mechanical protection during transportation of microscope slides. | --Select-- |  |  | Partially comply
|  | d |  | Haemocytometers/Counting Chambers |  |  |  | Does not comply
|  |  | i | A slide-based device containing a precision volume counting chamber used to quantify cell types from various bodily fluids under a light microscope. Each chamber has an etched grid with perpendicular lines. | --Select-- |  |  | Not Applicable
| 2.0 |  |  | General Requirements
|  | a |  | A full range of Microscope Slides and Microscope Slide Accessories is required to meet laboratory needs.
|  |  | i | Microscope Slides | --Select--
|  |  | iii | Microscope Slide Mailers | --Select--
|  |  | iv | Haemocytometers | --Select--
|  | b |  | Tendered Microscope Slides must:
|  |  | i | Be smooth, visibly clean and free from lint, grease, moisture and debris | --Select--
|  |  | ii | Retain clarity for extended periods | --Select--
|  |  | iii | Be supplied with a minimum of 12 months shelf life | --Select--
|  |  | iv | Be sufficiently durable to minimise breakage and damage to edges during normal storage, transport, handling and use | --Select--
|  |  | v | Be packaged in a manner that is sufficiently durable to protect the slides from contamination, moisture and damage during normal storage, transport, handling and laboratory use. | --Select--
|  | c |  | Treated Microscope Slides used for immunohistochemistry must have adhesive to hold the tissue section in place without causing damage to the section if it needs to be moved or removed. | --Select--
|  | d |  | Preference will be given to Microscope Slides where the gross carton weight does not exceed 10 kilograms. | --Select--
|  | e |  | Tendered Microscope Slide Coverslips must be: | --Select--
|  |  | i | Visibly clean and free from lint, grease, moisture and debris | --Select--
|  |  | ii | Sufficiently durable to minimise breakage and damage to edges during normal storage, transport, handling and use | --Select--
|  |  | iii | Packaged in a manner that is sufficiently durable to protect the cover slips from contamination, moisture and damage during normal storage, transport, handling and use. | --Select--
|  | f |  | Tendered Microscope Slide Mailers must hold each slide securely and minimise the risk of damage and breakage. | --Select--
|  | g |  | Tendered Haemocytometers/Counting Chambers must be:
|  |  | i | Single use | --Select--
|  |  | ii | Suitable for performing cell counts on all types of body fluids | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each Microscope Slide and Microscope Slide Accessory offered, Respondents must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Brand name | --Select--
|  |  | ii | Dimensions in millimetres ( length, width, thickness) | --Select--
|  |  | iii | Sterile or non-sterile | --Select--
|  |  |  | • Method of sterilisation (e.g. Ethylene Oxide, Gamma) (where appliable) | --Select--
|  |  | iv | Shelf life from date of manufacture in months | --Select--
|  |  | v | Microscope Slides (where applicable) | --Select--
|  |  |  | • Frosted (where applicable) | --Select--
|  |  |  | - Single or double sided | --Select--
|  |  |  | - Colour | --Select--
|  |  |  | - Location | --Select--
|  |  |  | - suited to ink only / thermal only printing | --Select--
|  |  |  | • Electrical charge (where applicable) | --Select--
|  |  |  | • Treatment or coating (where applicable) | --Select--
|  |  |  | • Corners (e.g. 90 degrees , 45 degrees) | --Select--
|  |  |  | • Edge finish (e.g. ground, cut) | --Select--
|  |  |  | - Angle of ground edge (where applicable) | --Select--
|  |  |  | • Number of wells (where applicable) | --Select--
|  |  |  | - Shape of well (where applicable) | --Select--
|  |  | vii | Microscope Slide Mailers (where applicable)
|  |  |  | • Capacity (e.g. single, threes) | --Select--
|  |  |  | • Material of construction (e.g. cardboard, plastic) Colour. | --Select--
|  |  | viii | Haemocytometers/Counting Chambers (where applicable)
|  |  |  | • Overall volume in millilitres | --Select--
|  |  |  | • Name of the grid rulings (e.g. Neubauer, Nageotte, Petroff-Hausser, etc.) | --Select--
|  |  |  | • Type of grid (e.g. double ruled) | --Select--
|  |  |  | - Dimensions of grid in millimetres | --Select--
|  |  |  | - Depth of grid in millimetres | --Select--
|  |  |  | • Number of chambers | --Select--
|  |  |  | • Labelling or numbering (where applicable). | --Select--
|  | b |  | For each Microscope Slide offered Respondents must advise on the Tender Response Worksheet:
|  |  | i | The manner in which the microscope slides are packaged, including: | --Select--
|  |  |  | • All layers of packaging | --Select--
|  |  |  | • Total quantity of slides | --Select--
|  |  |  | • Quantity in any internal packs | --Select--
|  |  |  | • Presence of desiccants | --Select--
|  |  |  | • Whether the packaging is of a “Tropical” standard | --Select--
|  |  | ii | The gross weight of cartons in kilograms | --Select--
|  |  | iii | If the slides are suitable for use with automated stainers, slide writers and in immunohistochemistry. | --Select--
|  | c |  | For each Microscope Slide Coverslip offered, Respondents must advise on the Tender Response Worksheet:
|  |  | i | Whether the packaging is of a “Tropical” standard | --Select--
|  |  | ii | The presence of a “Use By” date. | --Select--
| 3.1 |  |  | Additional Information | --Select--
|  | a |  | For each tendered Haemocytometer/Counting Chamber, successful Respondent must provide the Participating Health Service with the information regarding the multiplication factor per litre, in either hardcopy and/or electronic form upon being requested. | --Select--

## 11-Labels
Category 11: Pathology Labels
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 11 |  |  |  | Pathology Labels | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | General Requirements
|  | a |  | A full range of Labels and Ribbons are required to meet clinical needs. | --Select-- |  |  | --Select--
|  | b |  | Labels must: |  |  |  | Fully comply
|  |  | i | Be blank to have patient information and barcodes printed onto them | --Select-- |  |  | Partially comply
|  |  | ii | Have a range of sizes to fit tubes and slides to be used in the laboratories | --Select-- |  |  | Does not comply
|  |  | iii | Be chemical and temperature resistant | --Select-- |  |  | Not Applicable
|  |  | iv | Have permanent adhesive and be thermal coated | --Select--
|  |  | v | Be long lasting and printing on labels will not fade | --Select--
|  |  | vi | Be able to be written on with all conventional writing tools | --Select--
|  | c |  | Labels must have space for the following information:
|  |  | i | Name | --Select--
|  |  | ii | Patient registration number/ UR number/ Reference Number | --Select--
|  |  | iii | Site | --Select--
|  |  | iv | Date of birth | --Select--
|  |  | v | Date and time of collection | --Select--
|  |  | vi | Signature of collector (where applicable) | --Select--
|  |  | vii | Barcoding | --Select--
| 2 |  |  | Product Description
|  | a |  | For each Label offered, Respondents must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Brand name | --Select--
|  |  | ii | Dimensions in millimetres (width and length) | --Select--
|  |  | iii | Suitable for 2D barcodes (series of lines) (yes/no) | --Select--
|  |  | iv | Suitable for 3D barcodes/QR codes (yes/no) | --Select--

## 12-Specimen Packaging
Category 12: Pathology Sample Packaging
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 12 |  |  |  | Pathology Specimen Packaging | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1.0 |  |  | Intended Purpose for Use
|  | a |  | Outer Packaging
|  |  | i | The outer package, used for the transportation of pathology specimens by road, rail, or air, that meets ADG Code Packing Instructions P620 or P650. | --Select--
|  | b |  | Secondary Packaging
|  |  | i | The secondary package, used for the transportation of pathology specimens by road, rail, or air, constructed according to ADG Code Packing Instructions P620 or P650. | --Select--
|  | c |  | Specimen Bags
|  |  | i | transparent, two-compartment bag featuring a leak-proof section for the specimen and a separate pouch for documentation. Intended for use in clinics, collection centres, hospitals, and laboratories. | --Select--
| 2.0 |  |  | General Requirements
|  | a |  | A range of pathology specimen packaging is required to meet clinical needs. This includes:
|  |  | i | outer packaging capable of maintaining pathology specimens within a temperature range of either:
|  |  |  | • 2°C to 8°C during transport | --Select--
|  |  |  | • -20°C to 0°C during transport | --Select--
|  |  |  | • -80°C to -20°C during transport | --Select--
|  |  | ii | secondary packaging for transporting pathology specimens comprising of either
|  |  |  | • leak-proof bags, or | --Select--
|  |  |  | • leak-proof containers. | --Select--
|  |  | iii | specimen bags, transparent and leak-proof for internal hospital use. | --Select--
|  | b |  | All outer and secondary packaging products offered for the purpose of off-site transportation of pathology specimens from a hospital must adhere to the ADG Code requirements. | --Select--
|  | c |  | Outer packaging must be made available as a standalone item for purchase, and | --Select--
|  |  | i | encouraged to include all labelling mandated by the ADG Code. | --Select--
|  |  | ii | Outer packaging may also be offered as a component of a kit, that may consist of, but is not limited to, the phase change material refrigerant, the secondary packaging, absorbent material, temperature indicating strip, protective cushioning, and all labelling mandated by the ADG Code. | --Select--
|  | d |  | Outer packaging must be sufficiently robust to resist and absorb shock loads anticipated during transport. Expanded polystyrene, among other impact-resistant materials, is acceptable. | --Select--
|  | e |  | Secondary packaging must be made available as a standalone item for purchase. | --Select--
|  |  | i | Secondary packaging may also be offered as a component of a kit, that may consist of, but is not limited to, the absorbent material, temperature indicating strip, and protective cushioning. | --Select--
|  | c |  | Specimen bags must:
|  |  | i | be of transparent material and feature two distinct compartments: a primary, leak-proof, press-seal compartment for the specimen, and a separate, external pouch for accompanying documentation, | --Select--
|  |  | ii | be at least A5 in size, | --Select--
|  |  | iii | exhibit sufficient structural integrity to withstand standard internal courier handling procedures; resist tearing and splitting under anticipated use conditions, and the primary specimen pouch seal maintain a durable closure preventing unintentional opening during transit, and | --Select--
|  |  | iv | clearly marked with the standard biological hazard symbol. | --Select--
|  | d |  | Specimen bags are encouraged to:
|  |  | i | have the dual pouches heat-sealed along the edges to minimise handling errors and losses during transport | --Select--
|  |  | ii | be available in a range of colours. | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each Outer Package offered, the Respondent must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | External dimensions in millimetres (length x width x height) | --Select--
|  |  | ii | Internal dimensions (capacity) in millimetres (length x width x height)
|  |  | iii | Materials of construction (e.g. foam, cardboard)
|  |  | iv | Weight of assembled unit in kilograms
|  |  | v | PI620 / PI650 compliant
|  |  | vi | Required ADG Code markings/labels included (Yes/No)
|  |  | vii | State the phase change material included/intended to be used (where applicable)
• recommended PCM/dry ice/wet ice volume to be used
|  |  | viii | Intended temperature range maintained during transport
• transit time frame in hours
|  |  | ix | Single use/Reusable
|  |  | x | Standalone / Kit
• list the kit components
|  | b |  | For each Secondary Package offered, the Respondent must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Bag/Bottle | --Select--
|  |  | ii | Dimensions in millimetres (length x width, or height x opening diameter)
|  |  | iii | Materials of construction
|  |  | iv | PI620 / PI650 compliant
|  |  | v | Single use/Reusable
|  |  | vi | Standalone / Kit
• list the kit components
|  | c |  | For each Specimen Bag offered, the Respondent must provide the following information in the Product Description on the Tender Response Worksheet:
|  |  | i | Dimensions in millimetres (length x width x height) | --Select--
|  |  | ii | Materials of construction (e.g. polyethylene)
|  |  | iii | Image of Bag
|  |  | iv | Bag colour
| 4.0 |  |  | Substances of Concern
|  | a |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of natural rubber latex in either:
|  |  | i | The product (yes/no), or | --Select--
|  |  | ii | Its accompanying packaging (yes/no). | --Select--
|  | b |  | The presence of latex must be clearly indicated on the product or its accompanying packaging. | --Select--
|  | c |  | Participating Health Services will preference items that are latex free, unless otherwise indicated. | --Select--
|  | d |  | For each product tendered, Respondents must provide in the relevant columns of the Tender Response Worksheet, the presence of plasticisers (i.e., DEHP) in the tendered product (yes/no). | --Select--
|  |  | i | If the tendered product contains any plasticiser, then list the plasticiser/s used. | --Select--
|  | e |  | Under normal intended use, plasticiser/s must not leach from the host material of tendered product under any given operating condition. | --Select--
|  | f |  | Participating Health Services will preference products that are free of low molecular weight polymer plasticisers. | --Select--

## 13-QC Materials
Category 14: QC Materials
Clause Identifiers |  |  |  | Text | Respondent's Level of Compliance |  | No extra columns to be added by Respondents
Cat 14 |  |  |  | QC Materials | Fully comply Partially comply Does not comply Not Applicable | Please specify
| 1 |  |  | Intended Purpose for Use
|  | a |  | QC Materials
|  |  | i | A range of quality control materials, whether first-party or third-party, are required to verify that laboratory instruments and processes are functioning correctly, and to detect any systematic errors that may be present. Quality control materials are like patient samples, but with known values and compositions. | --Select-- |  |  | --Select--
|  | b |  | QC Data Management Software/System |  |  |  | Fully comply
|  |  | i | Application to assist Laboratory staff manage QC test data, etc. | --Select-- |  |  | Partially comply
|  | c |  | QC Testing Product Accessories |  |  |  | Fully comply
|  |  | i | Products that aid QC testing, including but not limited to: | --Select-- |  |  | Partially comply
• Dispenser tips
• Ampule breaker
• Tray, for QC materials
• Binder, for reports
| 2 |  |  | General Requirements
|  | a |  | A full range of quality control material is required to meet clinical needs for the verification of laboratory instruments | --Select--
|  | b |  | QC Materials must:
|  |  | i | comply with ISO 17511:2020 In vitro diagnostic medical devices — Requirements for establishing metrological traceability of values assigned to calibrators, trueness control materials and human samples | --Select--
|  |  | ii | comply with ISO 18153:2003 In vitro diagnostic medical devices — Measurement of quantities in biological samples — Metrological traceability of values for catalytic concentration of enzymes assigned calibrators and control materials | --Select--
|  |  | iii | Be clearly labelled with:
|  |  |  | • name and part number, and | --Select--
|  |  |  | • Lot number and expiry date | --Select--
|  | c |  | QC Data Management must:
|  |  | i | have connectivity to each of the following:
|  |  |  | • instrument/s | --Select--
|  |  |  | • middleware | --Select--
|  |  |  | • LIS | --Select--
|  |  | ii | generate the following report types:
|  |  |  | • simple/basic QC charts and reports | --Select--
|  |  |  | • Levey-Jennings chart | --Select--
|  |  |  | • Exception report | --Select--
|  |  |  | • Uncertainty of Measurement report | --Select--
|  |  |  | • others | --Select--
|  |  | iii | have connectivity/compatible to/with multiple vendors analysers | --Select--
| 3.0 |  |  | Product Description
|  | a |  | For each QC material offered, the Respondent must submit a data summary sheet in portable document format (i.e., .pdf) | --Select--
|  | b |  | For each QC material offered, the Respondent must provide the following information in the Product Description on the Tender Response Worksheet: | --Select--
|  |  | i | Manufacturer name
|  |  | ii | QC Material
• 1st or 3rd Party QC Material
• ARTG number
• Size, Quantity (if applicable) by volume in millilitres
• Shelf life from date of manufacture in months, and at storage temperature in Celsius (for liquids)
• Liquid or Lyophilized
• Open-vial stability in days, and at which temperature in Celsius
• Lyophilised reconstituted stability in days, and at which temperature in Celsius
• How many variants/levels
• Matrix substance
• Quantitative / Semi-Quantitative / Qualitative QC material
• QC analyte composition and target value of each
• Number of times QC material can be reused
• lot-to-lot reproducibility
|  |  | iii | Data Management Software/System
• List configured reports
• List performance indicators
• Peer comparison option available
• whether the application is hosted on a cloud-based or customer hosted server
|  |  | iv | Failure to provide relevant product information in the Tender Response Worksheet may result in products not being considered for award. | --Select--

## Appendix 1 - Product List
Appendix 1 - Product List
Category |  | Subcategory |  | Status
03 | Specimen Containers | 03.03 | Specimen Collection Tubes, Cerebrospinal Fluid
|  | 03.04 | Specimen Containers, 24 Hour Urine
|  | 03.05 | Specimen Containers, Timed Faecal
|  | 03.06 | Specimen Containers, Histology
|  | 03.07 | Specimen Containers, Sputum
|  | 03.08 | Prefilled Specimen Containers, Histology
|  | 03.09 | Prefilled Specimen Containers, Cytology, Human Papillomavirus
|  | 03.14 | PCR Testing Swabs
04 | Point of Care Testing | 04.02 | Testing Dipsticks, Glucose
|  | 04.03 | Testing Dipsticks, Drug
|  | 04.04 | Testing Dipsticks, pH, Acidic band
|  | 04.05 | Testing Dipsticks, pH, Neutral band
|  | 04.06 | Testing Dipsticks, pH, Alkaline band
|  | 04.07 | Testing Dipsticks, pH, Full range
|  | 04.08 | Testing Dipsticks, pH, Other
|  | 04.11 | Test Kits, Substances of Abuse
|  | 04.12 | Test Kits, COVID-19 / RSV / FluA/B / etc. | NEW
|  | 04.13 | Test Strips, Blood Glucose
|  | 04.14 | Test Strips, Blood Ketone
|  | 04.15 | Test Strips, Blood Coagulation
|  | 4.16 | Test Strips, Blood Lactate | NEW
|  | 04.16 | Test Strips, Blood, Other
|  | 4.18 | Blood Glucose/Ketone Meters | NEW
|  | 4.2 | Blood Lactate Meters | NEW
05 | Laboratory Chemicals | 05.01 | Laboratory Chemicals, Formalin
|  | 05.02 | Laboratory Chemicals, Xylene
|  | 05.03 | Laboratory Chemicals, Xylene substitutes
|  | 05.04 | Laboratory Chemicals, Ethanol
|  | 05.05 | Laboratory Chemicals, Isopropanol
|  | 05.06 | Laboratory Chemicals, Methanol
|  | 05.07 | Laboratory Chemicals, Acetone
|  | 05.08 | Laboratory Chemicals, Decalcifying Agents
|  | 05.09 | Schiff’s Reagent
06 | Anatomical Pathology Consumables | 06.04 | Embedding Media
|  | 06.10 | Cytology Cards
|  | 06.11 | Disposable Cytology Funnels with Cards
07 | Tubes for Internal Laboratory Use | 07.06 | Tube Caps, Additional
08 | Microbiology Consumables | 08.01 | Petri Dish, Full Plate, with Stacking Ring
|  | 08.03 | Petri Dish, Half Plate, without Stacking Ring
09 | Pipettes and Tips | 09.07 | Manual Pipette Tips, Plugged, Non Sterile
10 | Microscope Slides and Accessories | 10.02 | Microscope Slide, Frosted, with Wells
|  | 10.05 | Microscope Slide Mailer, Single Slides
|  | 10.06 | Microscope Slide Mailer, Multi Slides
|  | 10.07 | Haemocytometers/Counting Chambers
11 | Pathology Labels | 11.01 | Labels
|  | 11.02 | Ribbons
12 | Pathology Sample Packaging | 12.01 | Outer Packaging | NEW
|  | 12.02 | Secondary Packaging | NEW
|  | 12.03 | Specimen Bags
13 | QC Materials | 13.01 | QC Data Management Software/System
|  | 13.02 | Antioxidants Controls and Calibrators | NEW
|  | 13.03 | Blood Gas Controls | NEW
|  | 13.04 | Cardiac Assessment Controls | NEW
|  | 13.05 | Clinical Chemistry Controls | NEW
|  | 13.06 | Coagulation Controls | NEW
|  | 13.07 | Diabetes and Whole Blood Controls | NEW
|  | 13.08 | Drug-of-Abuse Controls | NEW
|  | 13.09 | Haematology Controls | NEW
|  | 13.1 | Immunoassay Controls | NEW
|  | 13.11 | Immunology / Protein Controls | NEW
|  | 13.12 | Infectious Disease Controls | NEW
|  | 13.13 | Serum Controls | NEW
|  | 13.14 | Specialty and Research Controls | NEW
|  | 13.15 | Therapeutic Drug Monitoring Controls | NEW
|  | 13.16 | Urine Controls | NEW
|  | 13.17 | Other Controls | NEW
|  | 13.18 | QC Testing Accessories | NEW
|  | 13.19 | POC Testing/Testers QC Materials/Products | NEW
Products Out-of-Scope
winged intravenous devices intended for other than blood collection |  |  | HPVC2013-079 Intravenous Access Devices & Administration Consumables
hypodermic syringes and needles | hypodermic syringes and needles | hypodermic syringes and needles | HPVC2015-005 Hypodermic Needles and Syringes
Bone Marrow Biopsy Needles | Bone Marrow Biopsy Needles | Bone Marrow Biopsy Needles | HPVC2022-061 Interventional Radiology
Bone Marrow Aspiration Needles | Bone Marrow Aspiration Needles | Bone Marrow Aspiration Needles | HPVC2022-061 Interventional Radiology
Bone Marrow Needles, for Biopsy/Aspiration | Bone Marrow Needles, for Biopsy/Aspiration | Bone Marrow Needles, for Biopsy/Aspiration | HPVC2022-061 Interventional Radiology
Colorimetric CO2 detectors | Colorimetric CO2 detectors | Colorimetric CO2 detectors | Out-of-scope, potential future Respiratory Products greenfield
Laboratory Chemicals, Pump Dispensers | Laboratory Chemicals, Pump Dispensers | Laboratory Chemicals, Pump Dispensers | Out-of-scope, generic product
Research Pipettes | Research Pipettes | Research Pipettes | HPVC2018-115 Pathology Equipment
stains/dyes/detection kits (ie Roche's: ultraView Universal Alkaline Phosphatase Red Detection Kit) | stains/dyes/detection kits (i.e. Roche's: ultraView Universal Alkaline Phosphatase Red Detection Kit) | stains/dyes/detection kits (i.e. Roche's: ultraView Universal Alkaline Phosphatase Red Detection Kit)
Continuous Glucose Monitors | Continuous Glucose Monitors | Continuous Glucose Monitors
INR Machines | INR Machines | INR Machines | HPVC2018-115 Pathology Equipment
Barcode Printers | Barcode Printers | Barcode Printers | HPVC2022-198 Mobile Workstations and Associated Equipment

## Appendix 2 - References
Appendix 2 - References
Standards | Standard Number | Standard Name
References to standards include any amendments, revisions or consolidations to those standards | AS/NZS 4187 | Reprocessing of reusable medical devices in health service organisations.
| ISO 15189 | Medical laboratories – Requirements for quality and competence
| ISO 6710 | Single Use Containers for Venous Blood Specimen Collection
| GP39-A6 | Tubes and Additives for Venous Blood Specimen Collection, Approved Standard, Sixth Edition
| AS/NZS 2243.3 | Safety in laboratories - Microbiological safety and containment
| ISO 7713 | Laboratory Glassware – Disposable Serological Pipettes
| ISO 12772 | Laboratory Glassware – Disposable Microhaematocrit Capillary Tubes
| GP42-A6 | Procedures and Devices for the Collection of Diagnostic Capillary Blood Specimens, Sixth Edition
| ISO 15190 | Medical Laboratories – Requirements for Safety
| ISO 12771 | Plastics Laboratory Ware – Disposable Serological Pipettes
| Auto02-A2 | Laboratory Automation: Bar Codes for Specimen Container Identification, Second Edition
| Auto12-A | Specimen Labels: Content and Location, Fonts and Label Orientation, First Edition
| AS 4834 | Packaging for surface transport of biological material that may cause disease in humans, animals and plants
Guidelines and Other References | Guidelines and Other References | Title
References to legislation includes any amendments, revisions or consolidations to those references | NHMRC | Australian Guidelines for the Prevention and Control of Infection in Healthcare, Commonwealth of Australia
| Therapeutic Goods Administration | Therapeutic Goods Order No. 37: General Requirements for Labels for Therapeutic Goods
| Therapeutic Goods Administration | Uniform Recall Procedure for Therapeutic Goods, Commonwealth of Australia
| Therapeutic Goods Regulations (Medical Devices) | amended 1 July 2016
| MM13-A | Collection, Transport, Preparation and Storage of Specimens for Molecular Methods, Approved Guidelines
| M40-A2 | Quality Control of Microbiological Transport Systems, Second Edition
| M29-A4 | Protection of Laboratory Workers from Occupationally Acquired Infections, Forth Edition
| GP34-A | Validation and Verification of Tubes for Venous and Capillary Blood Specimen collection, Approved Guideline
| GP33-A | Accuracy in Patient and Sample Identification, First Edition
| NPAAC | standards and technical publications for pathology services
| NPAAC | Guidelines for Point of Care Testing (First Edition 2015)
| NPAAC | The Provision of Direct to Consumer Genetic Tests, Guiding Principles for Providers (Second Edition, 2014)
| NPAAC | Requirements for the Packaging and Transport of Pathology Specimens and Associated Materials (Fifth Edition 2022)
| National Transport Commission | Australian Code for the Transport of Dangerous Goods by Road & Rail (the latest version, at the time of Supplementary release Edition 7.9, 2024)

## Sheet1 (hidden)
--Select-- | --Select-- | --Select--
Fully comply | Yes | Acknowledged
Partially comply | No | Not Applicable
Does not comply
Not Applicable